VIRGINIA STORMWATER MANAGEMENT REGULATIONS

PART I.	1

GENERAL.	1

4 VAC 3-20-10. Definitions.	1

4 VAC 3-20-30. Purposes.	2

4 VAC 3-20-40. Applicability.	2

PART II.	2

TECHNICAL CRITERIA.	2

4 VAC 3-20-50. Applicability.	2

4 VAC 3-20-60. General.	2

4 VAC 3-20-71. Water quality.	2

4 VAC 3-20-81. Stream channel erosion.	2

4 VAC 3-20-85. Flooding.	2

4 VAC 3-20-86. Regional (watershed-wide) stormwater management plans.	2

PART III.	2

LOCAL PROGRAMS.	2

4 VAC 3-20-90. Applicability.	2

4 VAC 3-20-101. Technical criteria for local programs.	2

4 VAC 3-20-111. Requirements for local program and ordinance.	2

4 VAC 3-20-121. Administrative procedures: stormwater management plans.	2

4 VAC 3-20-131. Administrative procedures: exceptions.	2

4 VAC 3-20-141. Administrative procedures: maintenance and inspections.	2

PART IV.	2

STATE PROJECTS.	2

4 VAC 3-20-210. Technical criteria and plan requirements for state projects.	2

4 VAC 3-20-220. Requirements for stormwater management annual standards and specifications.	2

VAC 3-20-230. Administrative procedures: stormwater management plans.	2

4 VAC 3-20-241. Administrative procedures: exceptions.	2

4 VAC 3-20-245. Administrative procedures: maintenance and inspections.	2

PART V.	2

REPORTING.	2

4 VAC 3-20-251. Reporting on stormwater management.	2

The following is a complete text of the Virginia Stormwater Management Regulations

4VAC3-20 amended by the Board of Conservation and Recreation, effective March 5, 1998

# PART I.

# GENERAL.

## 4 VAC 3-20-10. Definitions.

The following words and terms used in this chapter have the following meanings, unless the context

clearly indicates otherwise.

"Act" means Article 1.1 (§ 10.1-603.1 et seq.) of Chapter 6 of Title 10.1 of the Code of Virginia.

"Adequate channel" means a channel that will convey the designated frequency storm event without

overtopping the channel banks nor causing erosive damage to the channel bed or banks.

"Applicant" means any person submitting a stormwater management plan for approval.

"Aquatic bench" means a 10- to 15-foot wide bench around the inside perimeter of a permanent pool

that ranges in depth from zero to 12 inches. Vegetated with emergent plants, the bench augments

pollutant removal, provides habitats, conceals trash and water level fluctuations, and enhances safety.

“Average land cover condition” means a measure of the average amount of impervious surfaces

within a watershed, assumed to be 16%. Note that a locality may opt to calculate actual watershed specific values for the average land cover condition based upon 4 VAC 3-20-101.

"Best management practice (BMP)" means a structural or nonstructural practice which is designed

to minimize the impacts of development on surface and groundwater systems.

“Bioretention basin” means a water quality BMP engineered to filter the water quality volume

through an engineered planting bed, consisting of a vegetated surface layer (vegetation, mulch, ground

cover), planting soil, and sand bed, and into the in-situ material.

“Bioretention filter” means a bioretention basin with the addition of a sand filter collector pipe

system beneath the planting bed.

"Board" means the Board of Conservation and Recreation.

"Channel" means a natural or manmade waterway.

"Constructed wetlands" means areas intentionally designed and created to emulate the water quality

improvement function of wetlands for the primary purpose of removing pollutants from stormwater.

"Department" means the Department of Conservation and Recreation.

"Development" means a tract of land developed or to be developed as a unit under single ownership

or unified control which is to be used for any business or industrial purpose or is to contain three or

more residential dwelling units.

"Director" means the Director of the Department of Conservation and Recreation.

"Flooding" means a volume of water that is too great to be confined within the banks or walls of the

stream, water body or conveyance system and that overflows onto adjacent lands, causing or

threatening damage.

“Grassed swale” means an earthen conveyance system which is broad and shallow with erosion

resistant grasses and check dams, engineered to remove pollutants from stormwater runoff by filtration

through grass and infiltration into the soil.

"Impervious cover" means a surface composed of any material that significantly impedes or prevents

natural infiltration of water into soil. Impervious surfaces include, but are not limited to, roofs, buildings,

streets, parking areas, and any concrete, asphalt, or compacted gravel surface.

"Infiltration facility" means a stormwater management facility which temporarily impounds runoff

and discharges it via infiltration through the surrounding soil. While an infiltration facility may also be

equipped with an outlet structure to discharge impounded runoff, such discharge is normally reserved

for overflow and other emergency conditions. Since an infiltration facility impounds runoff only

temporarily, it is normally dry during nonrainfall periods. Infiltration basin, infiltration trench, infiltration

dry well, and porous pavement shall be considered infiltration facilities.

"Inspection" means an on-site review of the project's compliance with the approved plan, the local

stormwater management program, and any applicable design criteria.

"Land development" or "land development project" means a manmade change to, or construction

on, the land surface, except as exempted in the Stormwater Management Act, § 10.1-603.8 B of the

Code of Virginia, that changes its runoff characteristics.

“Linear development project” means a land development project that is linear in nature such as, but

not limited to, (i) the construction of electric and telephone utility lines, and natural gas pipelines; (ii)

construction of tracks, rights-of-way, bridges, communication facilities and other related structures of a

railroad company; and (iii) highway construction projects.

"Local stormwater management program" or "local program" means a statement of the various

methods adopted pursuant to the Act and implemented by a locality to manage the runoff from land

development projects and shall include an ordinance with provisions to require the control of after-development stormwater runoff rate of flow, the proper maintenance of stormwater management

facilities, and minimum administrative procedures consistent with this chapter.

"Locality" means a county, city, or town.

"Nonpoint source pollution" means contaminants such as sediment, nitrogen and phosphorous,

hydrocarbons, heavy metals, and toxics whose sources cannot be pinpointed but rather are washed

from the land surface in a diffuse manner by stormwater runoff.

“Nonpoint source pollutant runoff load” or “pollutant discharge” means the average amount of a

particular pollutant measured in pounds per year, delivered in a diffuse manner by stormwater runoff.

"Percent impervious" means the impervious area within the site divided by the area of the site

multiplied by 100.

"Person" means any individual, partnership, firm, association, joint venture, public or private

corporation, trust, estate, commission, board, public or private institution, utility, cooperative, county,

city, town or other political subdivision of the Commonwealth, any interstate body or any other legal

entity.

“Planning area” means a designated portion of the parcel on which the land development project is

located. Planning areas shall be established by delineation on a master plan. Once established,

planning areas shall be applied consistently for all future projects.

"Post-development" refers to conditions that reasonably may be expected or anticipated to exist after

completion of the land development activity on a specific site or tract of land.

"Pre-development" refers to the conditions that exist at the time that plans for the land development

of a tract of land are approved by the plan approval authority. Where phased development or plan

approval occurs (preliminary grading, roads and utilities, etc.), the existing conditions at the time prior

to the first item being approved or permitted shall establish pre-development conditions.

"Regional (watershed-wide) stormwater management facility" or "regional facility" means a

facility or series of facilities designed to control stormwater runoff from a specific watershed, although

only portions of the watershed may experience land development.

"Regional (watershed-wide) stormwater management plan" or "regional plan" means a

document containing material describing how runoff from open space, existing development and future

planned development areas within a watershed will be controlled by coordinated design and

implementation of regional stormwater management facilities.

"Runoff" or "stormwater runoff" means that portion of precipitation that is discharged across the

land surface or through conveyances to one or more waterways.

“Sand filter” means a contained bed of sand which acts to filter the first flush of runoff. The runoff is

then collected beneath the sand bed and conveyed to an adequate discharge point or infiltrated into the

in-situ soils.

“Shallow marsh” means a zone within a stormwater extended detention basin that exists from the

surface of the normal pool to a depth of six to 18 inches, and has a large surface area and, therefore,

requires a reliable source of baseflow, groundwater supply, or a sizeable drainage area, to maintain the

desired water surface elevations to support emergent vegetation.

“Site” means the parcel of land being developed, or a designated planning area in which the land

development project is located.

"State project" means any land development project which is undertaken by any state agency, board,

commission, authority or any branch of state government, including state supported institutions of higher

learning.

"Stormwater detention basin" or "detention basin" means a stormwater management facility which

temporarily impounds runoff and discharges it through a hydraulic outlet structure to a downstream

conveyance system. While a certain amount of outflow may also occur via infiltration through the

surrounding soil, such amounts are negligible when compared to the outlet structure discharge rates and

are, therefore, not considered in the facility's design. Since a detention facility impounds runoff only

temporarily, it is normally dry during non rainfall periods.

"Stormwater extended detention basin" or “extended detention basin” means a stormwater

management facility which temporarily impounds runoff and discharges it through a hydraulic outlet

structure over a specified period of time to a downstream conveyance system for the purpose of water

quality enhancement or stream channel erosion control. While a certain amount of outflow may also

occur via infiltration through the surrounding soil, such amounts are negligible when compared to the

outlet structure discharge rates and, therefore, are not considered in the facility's design. Since an

extended detention basin impounds runoff only temporarily, it is normally dry during non rainfall periods.

“Stormwater extended detention basin-enhanced” or “extended detention basin-enhanced”

means an extended detention basin modified to increase pollutant removal by providing a shallow marsh

in the lower stage of the basin.

"Stormwater management facility" means a device that controls stormwater runoff and changes the

characteristics of that runoff including, but not limited to, the quantity and quality, the period of release

or the velocity of flow.

"Stormwater management plan" or "plan" means a document containing material for describing

how existing runoff characteristics will be affected by a land development project and methods for

complying with the requirements of the local program or this chapter.

"Stormwater retention basin" or "retention basin" means a stormwater management facility which

includes a permanent impoundment, or normal pool of water, for the purpose of enhancing water

quality and, therefore, is normally wet, even during nonrainfall periods. Storm runoff inflows may be

temporarily stored above this permanent impoundment for the purpose of reducing flooding, or stream

channel erosion.

“Stormwater retention basin I” or “retention basin I” means a retention basin with the volume of

the permanent pool equal to three times the water quality volume.

“Stormwater retention basin II” or “retention basin II” means a retention basin with the volume of

the permanent pool equal to four times the water quality volume.

“Stormwater retention basin III” or “retention basin III” means a retention basin with the volume

of the permanent pool equal to four times the water quality volume with the addition of an aquatic

bench.

"Subdivision" unless otherwise defined in a local ordinance adopted pursuant to § 15.1-465 of the

Code of Virginia, means the division of a parcel of land into three or more lots or parcels of less than

five acres each for the purpose of transfer of ownership or building development, or, if a new street is

involved in such division, any division of a parcel of land. The term includes resubdivision and, when

appropriate to the context, shall relate to the process of subdividing or to the land subdivided.

“Vegetated filter strip” means a densely vegetated section of land engineered to accept runoff as

overland sheet flow from upstream development. It shall adopt any natural vegetated form, from grassy

meadow to small forest. The vegetative cover facilitates pollutant removal through filtration, sediment

deposition, infiltration and absorption, and is dedicated for that purpose.

"Water quality volume" means the volume equal to the first 1/2 inch of runoff multiplied by the

impervious surface of the land development project.

"Watershed" means a defined land area drained by a river, stream or drainage ways or system of

connecting rivers, streams, or drainage ways such that all surface water within the area flows through a

single outlet.

## 4 VAC 3-20-30. Purposes.

The purposes of this chapter are to provide a framework for the administration, implementation and

enforcement of the Act, while at the same time providing flexibility for innovative solutions to

stormwater management issues.

## 4 VAC 3-20-40. Applicability.

This chapter is applicable to:

1. Every locality that establishes a local stormwater management program; and

2. Every state project.

# PART II.

# TECHNICAL CRITERIA.

## 4 VAC 3-20-50. Applicability.

This part specifies technical criteria for localities that establish a local stormwater management program

and for state projects.

## 4 VAC 3-20-60. General.

A. Determination of flooding and channel erosion impacts to receiving streams due to land

development projects shall be measured at each point of discharge from the development project and

such determination shall include any runoff from the balance of the watershed which also contributes to

that point of discharge.

B. The specified design storms shall be defined as either a 24-hour storm using the rainfall distribution

recommended by the U.S. Soil Conservation Service when using U.S. Soil Conservation Service

methods or as the storm of critical duration that produces the greatest required storage volume at the

site when using a design method such as the Modified Rational Method.

C. For purposes of computing runoff, all pervious lands in the site shall be assumed prior to

development to be in good condition (if the lands are pastures, lawns, or parks), with good cover (if the

lands are woods), or with conservation treatment (if the lands are cultivated); regardless of conditions

existing at the time of computation.

D. Construction of stormwater management facilities or modifications to channels shall comply with all

applicable laws and regulations. Evidence of approval of all necessary permits shall be presented.

E. Impounding structures that are not covered by the Impounding Structure Regulations (4 VAC 50-

20-10 et seq.) shall be engineered for structural integrity during the 100-year storm event.

F. Pre-development and post-development runoff rates shall be verified by calculations that are

consistent with good engineering practices.

G. Outflows from a stormwater management facility shall be discharged to an adequate channel, and

velocity dissipaters shall be placed at the outfall of all stormwater management facilities and along the

length of any outfall channel as necessary to provide a non erosive velocity of flow from the basin to a

channel.

H. Proposed residential, commercial, or industrial subdivisions shall apply these stormwater

management criteria to the land development as a whole. Individual lots in new subdivisions shall not

be considered separate land development projects, but rather the entire subdivision shall be considered

a single land development project. Hydrologic parameters shall reflect the ultimate land development and shall be used in all engineering calculations.

I. All stormwater management facilities shall have a maintenance plan which identifies the owner and

the responsible party for carrying out the maintenance plan.

J. Construction of stormwater management impoundment structures within a Federal Emergency

Management Agency (FEMA) designated 100-year floodplain shall be avoided to the extent possible.

When this is unavoidable, all stormwater management facility construction shall be in compliance with all

applicable regulations under the National Flood Insurance Program, 44 CFR Part 59.

K. Natural channel characteristics shall be preserved to the maximum extent practicable.

L. Land development projects shall comply with the Virginia Erosion and Sediment Control Act and

attendant regulations.

## 4 VAC 3-20-71. Water quality.

A. Compliance with the water quality criteria may be achieved by applying the performance-based

criteria or the technology-based criteria to either the site or a planning area.

B. Performance-based criteria. For land development, the calculated post-development non point

source pollutant runoff load shall be compared to the calculated pre-development load based upon the

average land cover condition or the existing site condition. A BMP shall be located, designed, and

maintained to achieve the target pollutant removal efficiencies specified in Table 1 to effectively reduce

the pollutant load to the required level based upon the following four applicable land development

situations for which the performance criteria apply:

1. Situation 1 consists of land development where the existing percent impervious cover is less than or equal to the average land cover condition and the proposed improvements will create a total percent impervious cover which is less than the average land cover condition. Requirement: No reduction in the after development pollutant discharge is required.

2. Situation 2 consists of land development where the existing percent impervious cover is less than or equal to the average land cover condition and the proposed improvements will create a total percent impervious cover which is greater than the average land cover condition. Requirement: The pollutant discharge after development shall not exceed the existing pollutant

discharge based on the average land cover condition.

3. Situation 3 consists of land development where the existing percent impervious cover is greater than the average land cover condition. Requirement: The pollutant discharge after development shall not exceed (i) the pollutant discharge based on existing conditions less 10% or (ii) the pollutant discharge based on the average land cover condition, whichever is greater.

4. Situation 4 consists of land development where the existing percent impervious cover is served by an existing stormwater management BMP that addresses water quality.  Requirement: The pollutant discharge after development shall not exceed the existing pollutant discharge based on the existing percent impervious cover while served by the existing BMP.

The existing BMP shall be shown to have been designed and constructed in accordance with proper design standards and specifications, and to be in proper functioning condition.

C. Technology-based criteria. For land development, the post-developed stormwater runoff from the

impervious cover shall be treated by an appropriate BMP as required by the post-developed condition

percent impervious cover as specified in Table 1. The selected BMP shall be located, designed, and

maintained to perform at the target pollutant removal efficiency specified in Table 1. Design standards

and specifications for the BMPs in Table 1 which meet the required target pollutant removal efficiency

will be available at the department.

Table 1*

| Water Quality BMP | Target Phosphorus Removal Efficiency | Percent Impervious Cover |
| --- | --- | --- |
| Vegetated filter strip Grassed swale | 10% 15% | 16-21% |
| Constructed wetlands Extended detention (2 x WQ Vol) Retention basin I (3 x WQ Vol) | 30% 35% 40% | 22 -37% |
| Bioretention basin Bioretention filter Extended detention-enhanced Retention basin II (4 x WQ Vol) Infiltration (1 x WQ Vol) | 50% 50% 50% 50% 50% | 38 -66% |
| Sand filter Infiltration (2 x WQ Vol) Retention basin III (4 x WQ Vol with aquatic bench) | 65% 65% 65% | 67 -100% |
| * Innovative or alternate BMPs not included in this table may be allowed at the discretion of the local program administrator or the Department. Innovative or alternate BMPs not included in this table which target appropriate nonpoint source pollution other than phosphorous may be allowed at the discretion of the local program administrator or theDepartment. |  |  |

## 4 VAC 3-20-81. Stream channel erosion.

A. Properties and receiving waterways downstream of any land development project shall be protected

from erosion and damage due to increases in volume, velocity and peak flow rate of stormwater runoff in

accordance with the minimum design standards set out in this section.

B. The plan approving authority shall require compliance with subdivision 19 of 4 VAC 50-30-40 of the

Erosion and Sediment Control Regulations, promulgated pursuant to Article 4 (§ 10.1-560 et seq.) of

Chapter 5 of Title 10.1 of the Code of Virginia.

C. The plan approving authority may determine that some watersheds or receiving stream systems require

enhanced criteria in order to address the increased frequency of bankfull flow conditions brought on by land development projects. Therefore, in lieu of the reduction of the 2-year post-developed peak rate of runoff as required in subsection B of this section, the land development project being considered shall provide 24-hour extended detention of the runoff generated by the 1-year, 24-hour duration storm.

D. In addition to subsections B and C of this section, localities may, by ordinance, adopt more stringent

channel analysis criteria or design standards to ensure that the natural level of channel erosion, to the

maximum extent practicable, will not increase due to the land development projects. These criteria may

include, but are not limited to, the following:

1. Criteria and procedures for channel analysis and classification.

2. Procedures for channel data collection.

3. Criteria and procedures for the determination of the magnitude and frequency of natural

sediment transport loads.

4. Criteria for the selection of proposed natural or man-made channel linings.

## 4 VAC 3-20-85. Flooding.

A. Downstream properties and waterways shall be protected from damages from localized flooding due

to increases in volume, velocity and peak flow rate of stormwater runoff in accordance with the minimum

design standards set out in this section.

B. The 10-year post-developed peak rate of runoff from the development site shall not exceed the 10-

year pre-developed peak rate of runoff.

C. In lieu of subsection B of this section, localities may, by ordinance, adopt alternate design criteria based upon geographic, land use, topographic, geologic factors or other downstream conveyance factors as appropriate.

D. Linear development projects shall not be required to control post-developed stormwater runoff for flooding, except in accordance with a watershed or regional stormwater management plan.

## 4 VAC 3-20-86. Regional (watershed-wide) stormwater management plans.

This section enables localities to develop regional stormwater management plans. State agencies intending to develop large tracts of land such as campuses or prison compounds are encouraged to develop regional plans where practical.

The objective of a regional stormwater management plan is to address the stormwater management

concerns in a given watershed with greater economy and efficiency by installing regional stormwater

management facilities versus individual, site-specific facilities. The result will be fewer stormwater

management facilities to design, build and maintain in the affected watershed. It is also anticipated that

regional stormwater management facilities will not only help mitigate the impacts of new development, but may also provide for the remediation of erosion, flooding or water quality problems caused by existing development within the given watershed.

If developed, a regional plan shall, at a minimum, address the following:

1. The specific stormwater management issues within the targeted watersheds.

2. The technical criteria in 4 VAC 3-20-50 through 4 VAC 3-20-85 as needed based on subdivision 1 of this section.

3. The implications of any local comprehensive plans, zoning requirements and other planning documents.

4. Opportunities for financing a watershed plan through cost sharing with neighboring agencies or localities, implementation of regional stormwater utility fees, etc.

5. Maintenance of the selected stormwater management facilities.

6. Future expansion of the selected stormwater management facilities in the event that development exceeds the anticipated level

# PART III.

# LOCAL PROGRAMS.

## 4 VAC 3-20-90. Applicability.

This part specifies technical criteria, minimum ordinance requirements, and administrative procedures for

all localities operating local stormwater management programs.

## 4 VAC 3-20-101. Technical criteria for local programs.

A. All local stormwater management programs shall comply with the general technical criteria as outlined

in 4 VAC 3-20-60.

B. All local stormwater management programs which contain provisions for stormwater runoff quality shall comply with 4 VAC 3-20-71. A locality may establish criteria for selecting either the site or a planning area on which to apply the water quality criteria. A locality may opt to calculate actual watershed specific or locality wide values for the average land cover condition based upon:

1. Existing land use data at time of local Chesapeake Bay Preservation Act Program or Department storm water management program adoption, whichever was adopted first,

2. Watershed or locality size, and

3. Determination of equivalent values of impervious cover for nonurban land uses which contribute nonpoint source pollution, such as agriculture, forest, etc.

C. All local stormwater management programs which contain provisions for stream channel erosion shall

comply with 4 VAC 3-20-81.

D. All local stormwater management programs must contain provisions for flooding and shall comply with 4 VAC 3-20-85.

E. All local stormwater management programs which contain provisions for watershed or regional

stormwater management plans shall comply with 4 VAC 3-20-101.

F. A locality that has adopted more stringent requirements or implemented a regional (watershed-wide)

stormwater management plan may request, in writing, that the department consider these requirements in

its review of state projects within that locality.

G. Nothing in this part shall be construed as authorizing a locality to regulate, or to require prior approval

by the locality for, a state project.

## 4 VAC 3-20-111. Requirements for local program and ordinance.

A.	At a minimum, the local stormwater management program and implementing ordinance shall meet the following.

1. The ordinance shall identify the plan-approving authority and other positions of authority within the program, and shall include the regulations and technical criteria to be used in the program.

2. The ordinance shall include procedures for submission and approval of plans, issuance of permits, monitoring and inspections of land development projects. The party responsible for conducting inspections shall be identified. The local program authority shall maintain, either on-site or in local program files, a copy of the approved plan and a record of all inspections for each land development project.

B.	The department shall periodically review each locality's stormwater management program,

implementing ordinance, and amendments. Subsequent to this review, the department shall determine if the program and ordinance are consistent with the state stormwater management regulations and notify the locality of its findings. To the maximum extent practicable the department will coordinate the reviews with other local government program reviews to avoid redundancy. The review of a local program shall consist of the following:

1. A personal interview between department staff and the local program administrator or his designee;

2. A review of the local ordinance and other applicable documents;

3. A review of plans approved by the locality and consistency of application;

4. An inspection of regulated activities; and

5. A review of enforcement actions.

C.	Nothing in this chapter shall be construed as limiting the rights of other federal and state agencies from imposing stricter technical criteria or other requirements as allowed by law.

## 4 VAC 3-20-121. Administrative procedures: stormwater management plans.

A. Localities shall approve or disapprove stormwater management plans according to the following:

1. A maximum of 60 calendar days from the day a complete stormwater management plan is accepted for review will be allowed for the review of the plan. During the 60-day review period, the locality shall either approve or disapprove the plan and communicate its decision to the applicant in writing. Approval or denial shall be based on the plan's compliance with the locality's

stormwater management program.

2. A disapproval of a plan shall contain the reasons for disapproval.

B. Each plan approved by a locality shall be subject to the following conditions:

1. The applicant shall comply with all applicable requirements of the approved plan, the local program, this chapter and the Act, and shall certify that all land

clearing, construction, land development and drainage will be done according to the approved plan.

2. The land development project shall be conducted only within the area specified in the approved plan.

3. The locality shall be allowed, after giving notice to the owner, occupier or operator of the land development project, to conduct periodic inspections of the project.

4. The person responsible for implementing the approved plan shall conduct monitoring and submit reports as the locality may require to ensure compliance with the approved plan and to determine whether the plan provides effective stormwater management.

5. No changes may be made to an approved plan without review and written approval by the locality.

## 4 VAC 3-20-131. Administrative procedures: exceptions.

A. A request for an exception shall be submitted, in writing, to the locality. An exception from the

stormwater management regulations may be granted, provided that: (i) exceptions to the criteria are the

minimum necessary to afford relief and (ii) reasonable and appropriate conditions shall be imposed as

necessary upon any exception granted so that the intent of the Act and this chapter are preserved.

B. Economic hardship is not sufficient reason to grant an exception from the requirements of this chapter.

## 4 VAC 3-20-141. Administrative procedures: maintenance and inspections.

A. Responsibility for the operation and maintenance of stormwater management facilities, unless assumed

by a governmental agency, shall remain with the property owner and shall pass to any successor or owner.

If portions of the land are to be sold, legally binding arrangements shall be made to pass the basic

responsibility to successors in title. These arrangements shall designate for each project the property

owner, governmental agency, or other legally established entity to be permanently responsible for

maintenance.

B. In the case of developments where lots are to be sold, permanent arrangements satisfactory to the

locality shall be made to ensure continued performance of this chapter.

C. A schedule of maintenance inspections shall be incorporated into the local ordinance. Ordinances shall

provide that in cases where maintenance or repair is neglected, or the stormwater management facility

becomes a danger to public health or safety, the locality has the authority to perform the work and to

recover the costs from the owner.

D. Localities may require right-of-entry agreements or easements from the applicant for purposes of

inspection and maintenance.

E. Periodic inspections are required for all stormwater management facilities. Localities shall either:

1. Provide for inspection of stormwater management facilities on an annual basis; or

2. Establish an alternative inspection program which ensures that stormwater management facilities are functioning as intended. Any alternative inspection program shall be:

a. Established in writing;

b. Based on a system of priorities that, at a minimum, considers the purpose of the facility, the contributing drainage area, and downstream conditions; and

c. Documented by inspection records.

F. During construction of the stormwater management facilities, localities shall make inspections on a

regular basis.

G. Inspection reports shall be maintained as part of a land development project file.

# PART IV.

# STATE PROJECTS.

## 4 VAC 3-20-210. Technical criteria and plan requirements for state projects.

A. This part specifies technical criteria and administrative procedures for all state projects.

B. Stormwater management plans prepared for state projects shall comply with the technical criteria

outlined in Part II (4 VAC 3-20-50 et seq.) of this chapter and, to the maximum extent practicable, any

local stormwater management program technical requirements adopted pursuant to the Act. It shall be the

responsibility of the state agency to demonstrate that the local program technical requirements are not

practical for the project under consideration.

C. The department may establish criteria for selecting either the site or a planning area on which to apply

the water quality criteria.

D. As a minimum, stormwater management plans and computations shall contain the following:

1. The location and the design of the proposed stormwater management facilities.

2. Overall site plan with pre-developed and post-developed condition drainage area maps.

3. Comprehensive hydrologic and hydraulic computations of the pre-development and postdevelopment runoff conditions for the required design storms, considered individually.

4. Calculations verifying compliance with the water quality requirements.

5. A description of the requirements for maintenance of the stormwater management facilities and a recommended schedule of inspection and maintenance.

6. The identification of a person or persons who will be responsible for maintenance.

7. All stormwater management plans shall be appropriately sealed and signed by a professional in adherence to all minimum standards and requirements pertaining to the practice of that profession

in accordance with Chapter 4 (§ 54.1-400 et seq.) of Title 54.1 of the Code of Virginia and attendant regulations.

## 4 VAC 3-20-220. Requirements for stormwater management annual standards and specifications.

A. A request for approval of stormwater management standards and specifications may be submitted to

the department by a state agency on an annual basis. At a minimum, the following certifications shall

accompany the request:

1. Individual stormwater management plans shall be prepared for each of the state projects.

2. The stormwater management plans shall comply with the technical criteria as outlined in Part II (4 VAC 3-20-50 et seq.) of this chapter and, to the maximum extent practicable, any local stormwater management program technical requirements adopted pursuant to the Stormwater Management Act. It shall be the responsibility of the state agency to demonstrate that the local

program technical requirements are not practical for the project under consideration.

3. An inspection and maintenance schedule shall be developed and implemented.

B. Copies of such stormwater management specifications and standards including, but not limited to,

design manuals, technical guides and handbooks, shall be submitted.

## VAC 3-20-230. Administrative procedures: stormwater management plans.

A. Within 30 days after receipt of a complete stormwater management plan submitted by a state agency,

the department shall approve or disapprove the plan.

1. The department shall transmit its decision in writing to the state agency which submitted the plan.

2. Disapproved plans shall be revised and resubmitted to the department.

B. Approval of a stormwater management plan for a state project shall be subject to the following

conditions:

- The state agency shall comply with all applicable requirements of the approved plan and this chapter, and shall certify that all land clearing, construction, land development, and drainage will be done according to the approved plan.

2. The land development shall be conducted only within the area specified in the approved plan.

3. No changes may be made to an approved plan without review and written approval by the department.

4. The department shall be notified one week prior to the pre-construction meeting and one week prior to the commencement of land disturbing activity.

5. The department shall conduct periodic inspections of the project to ensure compliance with the plan.

6. The department may require monitoring and reports from the state agency responsible for implementing the plan to ensure compliance with the plan and to determine if the measures required in the plan provide effective stormwater management.

C. Compliance with approved plans shall be subject to the following conditions:

1. Where inspections by department personnel reveal deficiencies in carrying out an approved plan, the responsible state agency shall be issued a notice to comply, with corrective actions specified and the deadline within which the work shall be performed.

2. Whenever the Commonwealth or any of its agencies fail to comply within the time provided in a notice to comply, the director may petition the secretary of a given secretariat or an agency head for a given state agency for compliance. Where the petition does not achieve timely compliance, the director shall bring the matter to the Governor for resolution.

3. Where compliance will require the appropriation of funds, the director shall cooperate with the appropriate agency head in seeking such an appropriation; where the director determines that an emergency exists, he shall petition the Governor for funds from the Civil Contingency Fund or other appropriate source.

## 4 VAC 3-20-241. Administrative procedures: exceptions.

A. A request for an exception shall be submitted, in writing, to the department. An exception from the

stormwater management regulations may be granted, provided that: (i) exceptions to the criteria are the

minimum necessary to afford relief and (ii) reasonable and appropriate conditions shall be imposed as

necessary upon any exception granted so that the purpose and intent of the Act is preserved.

B. Economic hardship is not sufficient reason to grant an exception from the requirements of this chapter.

## 4 VAC 3-20-245. Administrative procedures: maintenance and inspections.

A. Responsibility for the operation and maintenance of stormwater management facilities shall remain with the state agency and shall pass to any successor or owner. If portions of the land are to be sold, legally binding arrangements shall be made to pass the basic responsibility to successors in title. These

arrangements shall designate for each state project the property owner, governmental agency, or other

legally established entity to be permanently responsible for maintenance.

B. At a minimum, a stormwater management facility shall be inspected on an annual basis and after any

storm which causes the capacity of the facility principal spillway to be exceeded.

C. During construction of the stormwater management facilities, the department shall make inspections

on a regular basis.

D. Inspection reports shall be maintained as part of the land development project file.

# PART V.

# REPORTING.

## 4 VAC 3-20-251. Reporting on stormwater management.

The department is required to report to the General Assembly on the extent to which stormwater

management programs have reduced nonpoint source pollution to the Commonwealth’s waters and

mitigated the effects of localized flooding. In order to complete this report, localities with stormwater

management programs and state agencies may be asked to voluntarily submit an annual report to the

department. Such a request may suggest reporting of data on the number and types of stormwater

management facilities installed in the preceding year, the drainage area or watershed size served, the

receiving stream or hydrologic unit, a summary of monitoring data, if any, and other data useful in

determining the effectiveness of the programs and BMP technologies in current use.