## Appendix 6B-10	Rainfall Intensity Inches Per Hour

## Norfolk

Regression Constants

| Freq. | a | b |
| --- | --- | --- |
| 2 | 124.88 | 17.02 |
| 5 |  |  |
| 10 | 190.64 | 22.14 |
| 25 |  |  |
| 50 |  |  |
| 100 | 288.73 | 25.60 |

Source:

Regression Constants from Virginia Stormwater Management Handbook, 1st Ed., Vol. II, 1999