## Appendix 6B-18	Rainfall Intensity Inches Per Hour

## Wytheville

Regression Constants

a	b

2	116.78	18.83

5

10	174.91		22.13

25

50

100	261.68	24.25

Source:

Regression Constants from Virginia Stormwater Management Handbook, 1st Ed., Vol. II, 1999